## Plate 1 - Sheet1
Software Version | 3.12.08
Experiment File Path: | C:\Users\Public\Documents\Experiments\Eric_expt_4_9.xls
Protocol File Path: | C:\Users\Public\Documents\Protocols\Eric_protocol.prt
Plate Number | Plate 1
Date | 2024-04-09
Time | 22:21
Reader Type: | Synergy H1
Reader Serial Number: | 2203091E
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Set Temperature | Setpoint 37°C
Preheat before moving to next step
Read | Absorbance Endpoint
Full Plate
Wavelengths: 600
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Start Kinetic | Runtime 24:00:00 (HH:MM:SS), Interval 0:30:00, 49 Reads
Shake | Orbital: Continuous
Frequency: 205 cpm (5 mm)
Read | Absorbance Endpoint
Full Plate
Wavelengths: 600
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
End Kinetic
Results
Actual Temperature: | 35.2
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.09 | 0.091 | 0.091 | 0.09 | 0.095 | 0.09 | 0.09 | 0.09 | 0.091 | 0.09 | 0.091 | 0.09 | Read 1:600
| B | 0.091 | 0.108 | 0.108 | 0.11 | 0.111 | 0.107 | 0.118 | 0.113 | 0.117 | 0.09 | 0.091 | 0.09 | Read 1:600
| C | 0.091 | 0.109 | 0.104 | 0.118 | 0.111 | 0.103 | 0.1 | 0.108 | 0.103 | 0.09 | 0.091 | 0.09 | Read 1:600
| D | 0.092 | 0.098 | 0.115 | 0.106 | 0.107 | 0.098 | 0.093 | 0.095 | 0.097 | 0.09 | 0.09 | 0.094 | Read 1:600
| E | 0.093 | 0.104 | 0.11 | 0.11 | 0.12 | 0.093 | 0.093 | 0.097 | 0.098 | 0.09 | 0.09 | 0.091 | Read 1:600
| F | 0.091 | 0.1 | 0.111 | 0.117 | 0.106 | 0.09 | 0.089 | 0.091 | 0.09 | 0.09 | 0.093 | 0.091 | Read 1:600
| G | 0.091 | 0.106 | 0.106 | 0.103 | 0.105 | 0.09 | 0.09 | 0.091 | 0.09 | 0.089 | 0.092 | 0.092 | Read 1:600
| H | 0.092 | 0.092 | 0.091 | 0.091 | 0.091 | 0.091 | 0.092 | 0.09 | 0.091 | 0.091 | 0.092 | 0.09 | Read 1:600
Read 2:600
| Time | T° Read 2:600 | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 0:29 | 37 | 0.09 | 0.091 | 0.091 | 0.089 | 0.095 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.112 | 0.115 | 0.116 | 0.116 | 0.117 | 0.115 | 0.116 | 0.116 | 0.09 | 0.09 | 0.09 | 0.09 | 0.111 | 0.109 | 0.112 | 0.106 | 0.104 | 0.108 | 0.11 | 0.105 | 0.09 | 0.09 | 0.09 | 0.091 | 0.111 | 0.116 | 0.111 | 0.109 | 0.103 | 0.105 | 0.107 | 0.111 | 0.089 | 0.09 | 0.099 | 0.092 | 0.114 | 0.114 | 0.115 | 0.117 | 0.103 | 0.104 | 0.105 | 0.112 | 0.09 | 0.09 | 0.09 | 0.091 | 0.113 | 0.115 | 0.116 | 0.11 | 0.089 | 0.09 | 0.093 | 0.089 | 0.09 | 0.091 | 0.09 | 0.09 | 0.11 | 0.112 | 0.11 | 0.11 | 0.089 | 0.089 | 0.09 | 0.089 | 0.089 | 0.091 | 0.091 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.092 | 0.09
| 0:59 | 37 | 0.09 | 0.091 | 0.091 | 0.089 | 0.095 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.15 | 0.158 | 0.154 | 0.158 | 0.146 | 0.142 | 0.146 | 0.144 | 0.095 | 0.09 | 0.09 | 0.09 | 0.135 | 0.133 | 0.139 | 0.126 | 0.119 | 0.122 | 0.126 | 0.119 | 0.09 | 0.09 | 0.09 | 0.091 | 0.146 | 0.153 | 0.146 | 0.139 | 0.117 | 0.121 | 0.122 | 0.125 | 0.09 | 0.09 | 0.097 | 0.092 | 0.153 | 0.148 | 0.151 | 0.159 | 0.114 | 0.113 | 0.115 | 0.123 | 0.089 | 0.09 | 0.09 | 0.09 | 0.148 | 0.149 | 0.157 | 0.142 | 0.089 | 0.09 | 0.092 | 0.09 | 0.09 | 0.091 | 0.09 | 0.09 | 0.136 | 0.14 | 0.139 | 0.137 | 0.09 | 0.089 | 0.09 | 0.089 | 0.089 | 0.091 | 0.091 | 0.091 | 0.092 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.092 | 0.09
| 1:29 | 37 | 0.09 | 0.091 | 0.091 | 0.089 | 0.095 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.246 | 0.257 | 0.263 | 0.263 | 0.214 | 0.213 | 0.224 | 0.221 | 0.096 | 0.09 | 0.089 | 0.09 | 0.202 | 0.206 | 0.211 | 0.183 | 0.162 | 0.167 | 0.172 | 0.162 | 0.09 | 0.09 | 0.09 | 0.091 | 0.243 | 0.248 | 0.246 | 0.232 | 0.156 | 0.169 | 0.166 | 0.167 | 0.09 | 0.09 | 0.097 | 0.092 | 0.255 | 0.239 | 0.248 | 0.265 | 0.146 | 0.143 | 0.148 | 0.151 | 0.089 | 0.09 | 0.09 | 0.09 | 0.256 | 0.247 | 0.27 | 0.234 | 0.09 | 0.09 | 0.092 | 0.089 | 0.09 | 0.091 | 0.09 | 0.09 | 0.209 | 0.203 | 0.204 | 0.212 | 0.09 | 0.089 | 0.09 | 0.089 | 0.089 | 0.091 | 0.091 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.092 | 0.09
| 1:59 | 37 | 0.09 | 0.091 | 0.091 | 0.089 | 0.095 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.374 | 0.404 | 0.422 | 0.407 | 0.334 | 0.328 | 0.355 | 0.357 | 0.098 | 0.09 | 0.089 | 0.09 | 0.301 | 0.319 | 0.339 | 0.288 | 0.256 | 0.268 | 0.262 | 0.245 | 0.09 | 0.09 | 0.09 | 0.091 | 0.351 | 0.372 | 0.367 | 0.35 | 0.239 | 0.284 | 0.273 | 0.256 | 0.09 | 0.09 | 0.097 | 0.092 | 0.385 | 0.362 | 0.37 | 0.403 | 0.232 | 0.216 | 0.232 | 0.234 | 0.089 | 0.09 | 0.09 | 0.09 | 0.383 | 0.368 | 0.396 | 0.353 | 0.091 | 0.09 | 0.092 | 0.09 | 0.09 | 0.091 | 0.09 | 0.09 | 0.323 | 0.325 | 0.314 | 0.338 | 0.09 | 0.089 | 0.09 | 0.089 | 0.089 | 0.091 | 0.091 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.092 | 0.09
| 2:29 | 37 | 0.09 | 0.091 | 0.091 | 0.089 | 0.095 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.565 | 0.603 | 0.662 | 0.596 | 0.457 | 0.442 | 0.483 | 0.522 | 0.094 | 0.09 | 0.089 | 0.09 | 0.43 | 0.467 | 0.487 | 0.422 | 0.398 | 0.43 | 0.379 | 0.358 | 0.09 | 0.09 | 0.09 | 0.091 | 0.475 | 0.505 | 0.51 | 0.477 | 0.363 | 0.442 | 0.433 | 0.413 | 0.09 | 0.09 | 0.097 | 0.092 | 0.531 | 0.502 | 0.509 | 0.56 | 0.389 | 0.332 | 0.38 | 0.388 | 0.089 | 0.09 | 0.09 | 0.09 | 0.534 | 0.516 | 0.547 | 0.497 | 0.091 | 0.091 | 0.092 | 0.089 | 0.09 | 0.091 | 0.09 | 0.09 | 0.5 | 0.445 | 0.468 | 0.479 | 0.09 | 0.089 | 0.09 | 0.089 | 0.089 | 0.091 | 0.091 | 0.091 | 0.092 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.092 | 0.09
| 2:59 | 37 | 0.09 | 0.091 | 0.091 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.699 | 0.715 | 0.761 | 0.726 | 0.561 | 0.55 | 0.62 | 0.631 | 0.097 | 0.09 | 0.089 | 0.09 | 0.575 | 0.612 | 0.637 | 0.573 | 0.542 | 0.585 | 0.481 | 0.469 | 0.09 | 0.09 | 0.089 | 0.091 | 0.574 | 0.617 | 0.622 | 0.585 | 0.51 | 0.596 | 0.607 | 0.592 | 0.09 | 0.09 | 0.095 | 0.092 | 0.639 | 0.616 | 0.628 | 0.678 | 0.546 | 0.458 | 0.518 | 0.538 | 0.089 | 0.09 | 0.09 | 0.09 | 0.622 | 0.615 | 0.642 | 0.597 | 0.091 | 0.09 | 0.091 | 0.089 | 0.089 | 0.091 | 0.09 | 0.09 | 0.596 | 0.597 | 0.607 | 0.551 | 0.09 | 0.089 | 0.09 | 0.09 | 0.089 | 0.091 | 0.091 | 0.091 | 0.092 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.09
| 3:29 | 37 | 0.09 | 0.091 | 0.091 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.751 | 0.737 | 0.775 | 0.755 | 0.609 | 0.603 | 0.645 | 0.645 | 0.098 | 0.09 | 0.089 | 0.09 | 0.639 | 0.672 | 0.695 | 0.648 | 0.601 | 0.637 | 0.561 | 0.55 | 0.09 | 0.09 | 0.089 | 0.091 | 0.624 | 0.673 | 0.676 | 0.636 | 0.692 | 0.692 | 0.627 | 0.615 | 0.09 | 0.09 | 0.093 | 0.092 | 0.693 | 0.671 | 0.687 | 0.74 | 0.639 | 0.606 | 0.648 | 0.628 | 0.09 | 0.09 | 0.09 | 0.09 | 0.664 | 0.655 | 0.681 | 0.642 | 0.091 | 0.09 | 0.091 | 0.089 | 0.089 | 0.091 | 0.09 | 0.09 | 0.635 | 0.638 | 0.626 | 0.634 | 0.09 | 0.089 | 0.09 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.092 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.09
| 3:59 | 37 | 0.09 | 0.091 | 0.091 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.729 | 0.761 | 0.838 | 0.742 | 0.634 | 0.611 | 0.677 | 0.64 | 0.089 | 0.09 | 0.089 | 0.09 | 0.67 | 0.698 | 0.723 | 0.676 | 0.705 | 0.742 | 0.622 | 0.593 | 0.09 | 0.09 | 0.09 | 0.091 | 0.655 | 0.709 | 0.705 | 0.673 | 0.749 | 0.753 | 0.722 | 0.685 | 0.09 | 0.09 | 0.091 | 0.092 | 0.74 | 0.718 | 0.721 | 0.778 | 0.691 | 0.731 | 0.743 | 0.731 | 0.089 | 0.09 | 0.09 | 0.09 | 0.698 | 0.688 | 0.713 | 0.675 | 0.091 | 0.09 | 0.09 | 0.089 | 0.09 | 0.091 | 0.09 | 0.09 | 0.659 | 0.655 | 0.629 | 0.635 | 0.091 | 0.089 | 0.09 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.092 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.09
| 4:29 | 37 | 0.09 | 0.091 | 0.091 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.722 | 0.767 | 0.811 | 0.767 | 0.612 | 0.584 | 0.628 | 0.628 | 0.099 | 0.09 | 0.089 | 0.09 | 0.719 | 0.736 | 0.751 | 0.705 | 0.692 | 0.714 | 0.616 | 0.591 | 0.09 | 0.09 | 0.089 | 0.091 | 0.68 | 0.739 | 0.73 | 0.694 | 0.823 | 0.742 | 0.679 | 0.641 | 0.09 | 0.09 | 0.091 | 0.092 | 0.766 | 0.744 | 0.745 | 0.808 | 0.713 | 0.779 | 0.771 | 0.723 | 0.09 | 0.09 | 0.09 | 0.09 | 0.717 | 0.711 | 0.732 | 0.704 | 0.091 | 0.09 | 0.09 | 0.089 | 0.089 | 0.091 | 0.09 | 0.09 | 0.674 | 0.684 | 0.671 | 0.678 | 0.09 | 0.089 | 0.09 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.089
| 4:59 | 37 | 0.09 | 0.091 | 0.091 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.744 | 0.814 | 0.835 | 0.783 | 0.589 | 0.566 | 0.586 | 0.612 | 0.095 | 0.09 | 0.089 | 0.09 | 0.72 | 0.753 | 0.767 | 0.719 | 0.658 | 0.678 | 0.594 | 0.569 | 0.09 | 0.09 | 0.09 | 0.091 | 0.688 | 0.75 | 0.733 | 0.71 | 0.83 | 0.701 | 0.651 | 0.608 | 0.09 | 0.09 | 0.091 | 0.092 | 0.773 | 0.763 | 0.759 | 0.816 | 0.743 | 0.803 | 0.78 | 0.721 | 0.09 | 0.09 | 0.09 | 0.09 | 0.732 | 0.717 | 0.737 | 0.713 | 0.091 | 0.091 | 0.09 | 0.089 | 0.089 | 0.091 | 0.09 | 0.09 | 0.671 | 0.653 | 0.66 | 0.692 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.092 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.09
| 5:29 | 37.1 | 0.09 | 0.091 | 0.091 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.79 | 0.82 | 0.814 | 0.783 | 0.561 | 0.561 | 0.573 | 0.62 | 0.093 | 0.09 | 0.089 | 0.09 | 0.717 | 0.766 | 0.772 | 0.718 | 0.634 | 0.672 | 0.591 | 0.571 | 0.09 | 0.09 | 0.089 | 0.091 | 0.689 | 0.755 | 0.742 | 0.713 | 0.792 | 0.678 | 0.67 | 0.598 | 0.09 | 0.09 | 0.092 | 0.092 | 0.783 | 0.772 | 0.766 | 0.829 | 0.796 | 0.809 | 0.8 | 0.734 | 0.09 | 0.09 | 0.09 | 0.09 | 0.743 | 0.729 | 0.742 | 0.718 | 0.091 | 0.09 | 0.09 | 0.09 | 0.089 | 0.091 | 0.09 | 0.09 | 0.68 | 0.675 | 0.671 | 0.711 | 0.091 | 0.09 | 0.09 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.09
| 5:59 | 37 | 0.09 | 0.091 | 0.09 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.79 | 0.824 | 0.823 | 0.797 | 0.54 | 0.548 | 0.559 | 0.593 | 0.089 | 0.091 | 0.089 | 0.09 | 0.724 | 0.749 | 0.769 | 0.716 | 0.607 | 0.662 | 0.585 | 0.569 | 0.09 | 0.09 | 0.09 | 0.091 | 0.694 | 0.757 | 0.749 | 0.721 | 0.797 | 0.67 | 0.726 | 0.593 | 0.09 | 0.09 | 0.091 | 0.092 | 0.786 | 0.774 | 0.77 | 0.825 | 0.767 | 0.797 | 0.772 | 0.703 | 0.089 | 0.09 | 0.09 | 0.09 | 0.75 | 0.739 | 0.741 | 0.723 | 0.091 | 0.091 | 0.09 | 0.089 | 0.09 | 0.091 | 0.09 | 0.09 | 0.701 | 0.705 | 0.695 | 0.689 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.09
| 6:29 | 37 | 0.09 | 0.091 | 0.09 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.798 | 0.84 | 0.844 | 0.795 | 0.525 | 0.541 | 0.581 | 0.602 | 0.089 | 0.091 | 0.089 | 0.09 | 0.704 | 0.753 | 0.761 | 0.712 | 0.606 | 0.654 | 0.584 | 0.559 | 0.09 | 0.09 | 0.09 | 0.091 | 0.697 | 0.763 | 0.755 | 0.723 | 0.764 | 0.656 | 0.705 | 0.609 | 0.09 | 0.09 | 0.091 | 0.092 | 0.793 | 0.785 | 0.781 | 0.835 | 0.771 | 0.777 | 0.741 | 0.704 | 0.09 | 0.09 | 0.09 | 0.09 | 0.746 | 0.744 | 0.744 | 0.728 | 0.091 | 0.09 | 0.09 | 0.089 | 0.089 | 0.091 | 0.09 | 0.09 | 0.678 | 0.667 | 0.674 | 0.666 | 0.09 | 0.089 | 0.09 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.09
| 6:59 | 37 | 0.09 | 0.091 | 0.09 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.792 | 0.844 | 0.849 | 0.811 | 0.519 | 0.526 | 0.604 | 0.615 | 0.089 | 0.091 | 0.089 | 0.09 | 0.707 | 0.749 | 0.756 | 0.705 | 0.613 | 0.655 | 0.6 | 0.584 | 0.09 | 0.09 | 0.089 | 0.091 | 0.699 | 0.75 | 0.752 | 0.724 | 0.746 | 0.661 | 0.696 | 0.635 | 0.09 | 0.09 | 0.091 | 0.092 | 0.788 | 0.778 | 0.785 | 0.834 | 0.76 | 0.765 | 0.755 | 0.697 | 0.09 | 0.09 | 0.09 | 0.09 | 0.745 | 0.748 | 0.743 | 0.732 | 0.091 | 0.091 | 0.09 | 0.089 | 0.089 | 0.091 | 0.09 | 0.09 | 0.648 | 0.658 | 0.664 | 0.662 | 0.091 | 0.09 | 0.091 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.09
| 7:29 | 37.1 | 0.09 | 0.091 | 0.09 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.798 | 0.833 | 0.846 | 0.8 | 0.526 | 0.516 | 0.592 | 0.606 | 0.089 | 0.091 | 0.089 | 0.09 | 0.702 | 0.742 | 0.754 | 0.703 | 0.614 | 0.647 | 0.604 | 0.592 | 0.09 | 0.09 | 0.089 | 0.091 | 0.703 | 0.759 | 0.751 | 0.731 | 0.703 | 0.667 | 0.693 | 0.649 | 0.09 | 0.09 | 0.091 | 0.092 | 0.789 | 0.773 | 0.784 | 0.835 | 0.729 | 0.739 | 0.695 | 0.698 | 0.09 | 0.09 | 0.09 | 0.09 | 0.751 | 0.734 | 0.744 | 0.733 | 0.091 | 0.09 | 0.089 | 0.089 | 0.089 | 0.091 | 0.09 | 0.09 | 0.659 | 0.66 | 0.667 | 0.653 | 0.091 | 0.089 | 0.091 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.089
| 7:59 | 37 | 0.09 | 0.091 | 0.09 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.803 | 0.846 | 0.843 | 0.81 | 0.528 | 0.512 | 0.588 | 0.62 | 0.089 | 0.091 | 0.089 | 0.09 | 0.698 | 0.737 | 0.752 | 0.699 | 0.614 | 0.649 | 0.617 | 0.619 | 0.09 | 0.09 | 0.09 | 0.091 | 0.707 | 0.756 | 0.75 | 0.733 | 0.686 | 0.658 | 0.702 | 0.656 | 0.09 | 0.09 | 0.091 | 0.092 | 0.791 | 0.782 | 0.784 | 0.835 | 0.713 | 0.727 | 0.704 | 0.695 | 0.09 | 0.09 | 0.09 | 0.091 | 0.744 | 0.736 | 0.74 | 0.733 | 0.091 | 0.09 | 0.089 | 0.089 | 0.09 | 0.092 | 0.09 | 0.09 | 0.654 | 0.66 | 0.663 | 0.657 | 0.091 | 0.09 | 0.09 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.09
| 8:29 | 37 | 0.09 | 0.091 | 0.09 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.804 | 0.838 | 0.832 | 0.823 | 0.528 | 0.518 | 0.601 | 0.625 | 0.09 | 0.091 | 0.089 | 0.09 | 0.691 | 0.735 | 0.746 | 0.694 | 0.618 | 0.646 | 0.628 | 0.635 | 0.09 | 0.09 | 0.089 | 0.091 | 0.705 | 0.757 | 0.75 | 0.727 | 0.67 | 0.654 | 0.695 | 0.66 | 0.09 | 0.09 | 0.091 | 0.092 | 0.792 | 0.78 | 0.783 | 0.842 | 0.69 | 0.716 | 0.703 | 0.706 | 0.09 | 0.09 | 0.09 | 0.091 | 0.743 | 0.737 | 0.742 | 0.728 | 0.091 | 0.091 | 0.089 | 0.089 | 0.09 | 0.092 | 0.09 | 0.09 | 0.662 | 0.667 | 0.669 | 0.666 | 0.09 | 0.09 | 0.091 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.09
| 8:59 | 37 | 0.09 | 0.091 | 0.09 | 0.089 | 0.095 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.796 | 0.833 | 0.841 | 0.834 | 0.527 | 0.515 | 0.6 | 0.592 | 0.09 | 0.091 | 0.089 | 0.09 | 0.69 | 0.734 | 0.746 | 0.691 | 0.613 | 0.651 | 0.634 | 0.642 | 0.09 | 0.09 | 0.09 | 0.091 | 0.698 | 0.755 | 0.749 | 0.729 | 0.662 | 0.641 | 0.698 | 0.664 | 0.09 | 0.09 | 0.091 | 0.092 | 0.792 | 0.781 | 0.785 | 0.84 | 0.674 | 0.707 | 0.678 | 0.695 | 0.09 | 0.09 | 0.09 | 0.091 | 0.744 | 0.742 | 0.744 | 0.735 | 0.091 | 0.09 | 0.09 | 0.09 | 0.09 | 0.092 | 0.09 | 0.09 | 0.675 | 0.672 | 0.687 | 0.679 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.09
| 9:29 | 37 | 0.09 | 0.091 | 0.09 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.813 | 0.834 | 0.842 | 0.841 | 0.531 | 0.512 | 0.603 | 0.59 | 0.09 | 0.091 | 0.089 | 0.09 | 0.69 | 0.721 | 0.745 | 0.693 | 0.614 | 0.649 | 0.648 | 0.647 | 0.09 | 0.09 | 0.09 | 0.091 | 0.696 | 0.751 | 0.746 | 0.725 | 0.657 | 0.644 | 0.685 | 0.674 | 0.09 | 0.09 | 0.091 | 0.092 | 0.792 | 0.776 | 0.786 | 0.842 | 0.654 | 0.685 | 0.678 | 0.701 | 0.09 | 0.09 | 0.09 | 0.091 | 0.742 | 0.736 | 0.742 | 0.729 | 0.091 | 0.09 | 0.09 | 0.089 | 0.09 | 0.092 | 0.09 | 0.09 | 0.682 | 0.691 | 0.694 | 0.673 | 0.091 | 0.09 | 0.09 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.09
| 9:59 | 37 | 0.09 | 0.091 | 0.09 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.811 | 0.833 | 0.842 | 0.829 | 0.534 | 0.518 | 0.603 | 0.594 | 0.089 | 0.091 | 0.089 | 0.09 | 0.689 | 0.727 | 0.738 | 0.686 | 0.625 | 0.65 | 0.648 | 0.648 | 0.09 | 0.09 | 0.09 | 0.091 | 0.696 | 0.751 | 0.743 | 0.726 | 0.65 | 0.647 | 0.672 | 0.68 | 0.09 | 0.09 | 0.091 | 0.092 | 0.793 | 0.783 | 0.784 | 0.842 | 0.658 | 0.688 | 0.675 | 0.707 | 0.09 | 0.09 | 0.09 | 0.091 | 0.744 | 0.737 | 0.746 | 0.731 | 0.091 | 0.09 | 0.09 | 0.09 | 0.09 | 0.092 | 0.09 | 0.09 | 0.676 | 0.685 | 0.693 | 0.683 | 0.09 | 0.09 | 0.091 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.09
| 10:29 | 37 | 0.09 | 0.091 | 0.09 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.816 | 0.832 | 0.848 | 0.832 | 0.529 | 0.523 | 0.603 | 0.589 | 0.09 | 0.091 | 0.089 | 0.09 | 0.688 | 0.722 | 0.736 | 0.688 | 0.63 | 0.656 | 0.655 | 0.657 | 0.09 | 0.09 | 0.09 | 0.091 | 0.694 | 0.748 | 0.741 | 0.727 | 0.652 | 0.674 | 0.697 | 0.678 | 0.09 | 0.09 | 0.091 | 0.092 | 0.795 | 0.785 | 0.787 | 0.856 | 0.656 | 0.685 | 0.68 | 0.707 | 0.09 | 0.09 | 0.09 | 0.091 | 0.741 | 0.735 | 0.741 | 0.734 | 0.091 | 0.09 | 0.09 | 0.089 | 0.09 | 0.092 | 0.09 | 0.09 | 0.688 | 0.69 | 0.694 | 0.692 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.089
| 10:59 | 37 | 0.09 | 0.091 | 0.09 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.802 | 0.831 | 0.844 | 0.838 | 0.531 | 0.526 | 0.588 | 0.591 | 0.089 | 0.091 | 0.089 | 0.09 | 0.681 | 0.716 | 0.735 | 0.684 | 0.632 | 0.658 | 0.653 | 0.659 | 0.09 | 0.09 | 0.089 | 0.091 | 0.693 | 0.746 | 0.74 | 0.72 | 0.647 | 0.651 | 0.705 | 0.674 | 0.09 | 0.09 | 0.091 | 0.092 | 0.796 | 0.781 | 0.785 | 0.842 | 0.652 | 0.694 | 0.688 | 0.702 | 0.09 | 0.09 | 0.09 | 0.09 | 0.739 | 0.736 | 0.744 | 0.733 | 0.091 | 0.09 | 0.089 | 0.089 | 0.09 | 0.091 | 0.09 | 0.09 | 0.697 | 0.694 | 0.7 | 0.697 | 0.09 | 0.09 | 0.091 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.091 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.089
| 11:29 | 37.1 | 0.09 | 0.091 | 0.09 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.806 | 0.83 | 0.838 | 0.84 | 0.529 | 0.526 | 0.575 | 0.576 | 0.089 | 0.091 | 0.089 | 0.09 | 0.678 | 0.713 | 0.731 | 0.681 | 0.632 | 0.655 | 0.65 | 0.662 | 0.09 | 0.09 | 0.089 | 0.091 | 0.692 | 0.745 | 0.738 | 0.72 | 0.638 | 0.643 | 0.686 | 0.673 | 0.09 | 0.09 | 0.091 | 0.092 | 0.793 | 0.781 | 0.789 | 0.84 | 0.644 | 0.666 | 0.681 | 0.7 | 0.09 | 0.09 | 0.09 | 0.09 | 0.738 | 0.738 | 0.744 | 0.735 | 0.091 | 0.09 | 0.089 | 0.089 | 0.09 | 0.092 | 0.09 | 0.09 | 0.698 | 0.693 | 0.701 | 0.701 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.095 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.089
| 11:59 | 37 | 0.09 | 0.091 | 0.09 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.805 | 0.824 | 0.834 | 0.827 | 0.533 | 0.529 | 0.575 | 0.586 | 0.089 | 0.091 | 0.089 | 0.09 | 0.676 | 0.714 | 0.732 | 0.679 | 0.636 | 0.658 | 0.653 | 0.665 | 0.09 | 0.09 | 0.09 | 0.091 | 0.689 | 0.741 | 0.735 | 0.721 | 0.647 | 0.663 | 0.68 | 0.672 | 0.09 | 0.09 | 0.091 | 0.092 | 0.791 | 0.779 | 0.788 | 0.841 | 0.648 | 0.701 | 0.679 | 0.702 | 0.09 | 0.09 | 0.09 | 0.091 | 0.74 | 0.736 | 0.744 | 0.735 | 0.091 | 0.09 | 0.089 | 0.089 | 0.09 | 0.092 | 0.09 | 0.09 | 0.699 | 0.693 | 0.694 | 0.699 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.095 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.09
| 12:29 | 37 | 0.09 | 0.091 | 0.09 | 0.089 | 0.095 | 0.089 | 0.089 | 0.09 | 0.09 | 0.09 | 0.09 | 0.089 | 0.09 | 0.819 | 0.829 | 0.843 | 0.835 | 0.532 | 0.529 | 0.569 | 0.605 | 0.089 | 0.091 | 0.089 | 0.09 | 0.676 | 0.715 | 0.731 | 0.675 | 0.636 | 0.657 | 0.657 | 0.662 | 0.09 | 0.09 | 0.089 | 0.091 | 0.687 | 0.738 | 0.734 | 0.719 | 0.648 | 0.653 | 0.681 | 0.676 | 0.09 | 0.09 | 0.091 | 0.092 | 0.791 | 0.779 | 0.787 | 0.837 | 0.65 | 0.706 | 0.672 | 0.685 | 0.09 | 0.09 | 0.09 | 0.091 | 0.735 | 0.734 | 0.743 | 0.735 | 0.091 | 0.09 | 0.09 | 0.089 | 0.09 | 0.092 | 0.09 | 0.09 | 0.698 | 0.694 | 0.698 | 0.702 | 0.09 | 0.09 | 0.091 | 0.09 | 0.089 | 0.091 | 0.092 | 0.091 | 0.091 | 0.091 | 0.09 | 0.09 | 0.095 | 0.091 | 0.089 | 0.09 | 0.091 | 0.092 | 0.09
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
0:00
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | -0.001 | -0.001 | -0.003 | 0.001 | -0.003 | -0.001 | -0.002 | -0.001 | -0.001 | -0.001 | -0.001 | -0.002 | Max V [Read 2:600]
|  | 0.75 | 0.5 | 0.941 | 0.75 | 0.593 | 0.571 | 0.781 | 0.571 | 0.333 | 0.8 | 0.75 | 0.75 | R-Squared [Read 2:600]
|  | 10:29 | 11:29 | 3:29 | 5:59 | 1:29 | 1:29 | 1:29 | 1:29 | 10:59 | 10:29 | 3:59 | 1:29 | t at Max V [Read 2:600]
|  | 11:29 | 10:59 | 3:22 | 9:59 | ????? | 0:29 | ????? | 0:29 | 9:59 | 6:44 | 1:39 | 0:29 | Lagtime [Read 2:600]
| B | -0.001 | 4.72 | 4.867 | 5.376 | 4.896 | 3.579 | 3.484 | 4.027 | 4.251 | -0.083 | -0.001 | -0.002 | Max V [Read 2:600]
|  | 0.8 | 0.987 | 0.988 | 0.982 | 0.992 | 0.992 | 0.994 | 0.992 | 0.988 | 0.938 | 0.75 | 0.781 | R-Squared [Read 2:600]
|  | 1:59 | 1:59 | 1:59 | 1:59 | 1:59 | 1:59 | 1:59 | 1:59 | 1:59 | 5:29 | 9:59 | 1:29 | t at Max V [Read 2:600]
|  | 0:44 | 0:57 | 0:55 | 0:56 | 0:55 | 0:56 | 0:56 | 0:57 | 0:58 | 6:03 | 12:19 | ????? | Lagtime [Read 2:600]
| C | -0.001 | 3.829 | 4.082 | 4.242 | 4.051 | 3.876 | 4.187 | 3.325 | 3.333 | 0.002 | 0.002 | -0.001 | Max V [Read 2:600]
|  | 0.5 | 0.989 | 0.984 | 0.985 | 0.991 | 0.984 | 0.978 | 0.997 | 0.996 | 0.893 | 0.893 | 0.8 | R-Squared [Read 2:600]
|  | 6:29 | 2:29 | 2:29 | 1:59 | 2:29 | 2:29 | 2:29 | 2:29 | 2:29 | 1:59 | 8:29 | 1:59 | t at Max V [Read 2:600]
|  | 5:59 | 1:06 | 1:04 | 1:00 | 1:11 | 1:15 | 1:15 | 1:11 | 1:13 | 1:11 | 9:41 | 1:59 | Lagtime [Read 2:600]
| D | -0.001 | 3.627 | 3.944 | 4.054 | 3.789 | 4.494 | 4.521 | 4.188 | 4.106 | 0.002 | 0.001 | -0.052 | Max V [Read 2:600]
|  | 0.75 | 0.998 | 0.997 | 0.997 | 0.998 | 0.982 | 0.994 | 0.961 | 0.961 | 0.557 | 0.75 | 0.939 | R-Squared [Read 2:600]
|  | 4:59 | 1:59 | 1:59 | 1:59 | 1:59 | 2:59 | 2:29 | 2:29 | 2:29 | 1:29 | 8:29 | 2:59 | t at Max V [Read 2:600]
|  | 4:19 | 0:51 | 0:53 | 0:53 | 0:54 | 1:28 | 1:16 | 1:14 | 1:17 | ????? | 9:29 | 1:40 | Lagtime [Read 2:600]
| E | -0.001 | 4.164 | 3.998 | 4.047 | 4.439 | 4.34 | 4.352 | 4.301 | 4.197 | 0.002 | 0.001 | -0.001 | Max V [Read 2:600]
|  | 0.45 | 0.997 | 0.996 | 0.997 | 0.996 | 0.989 | 0.998 | 0.994 | 0.989 | 0.942 | 0.8 | 0.571 | R-Squared [Read 2:600]
|  | 9:59 | 1:59 | 1:59 | 1:59 | 1:59 | 2:29 | 2:59 | 2:59 | 2:29 | 8:59 | 8:29 | 1:29 | t at Max V [Read 2:600]
|  | 6:39 | 0:52 | 0:54 | 0:53 | 0:52 | 1:23 | 1:36 | 1:26 | 1:23 | 7:51 | 9:44 | 1:14 | Lagtime [Read 2:600]
| F | 0.001 | 4.086 | 4.002 | 4.16 | 3.909 | 0.014 | 0.004 | -0.021 | 0.004 | -0.004 | -0.003 | -0.001 | Max V [Read 2:600]
|  | 0.75 | 0.995 | 0.995 | 0.996 | 0.995 | 0.819 | 0.812 | 0.969 | 0.75 | 0.983 | 0.571 | 0.4 | R-Squared [Read 2:600]
|  | 7:29 | 1:59 | 1:59 | 1:59 | 1:59 | 1:29 | 9:59 | 3:29 | 8:59 | 2:29 | 1:29 | 1:29 | t at Max V [Read 2:600]
|  | 8:29 | 0:52 | 0:53 | 0:50 | 0:54 | 0:34 | 9:55 | 1:56 | 8:44 | 2:15 | ????? | ????? | Lagtime [Read 2:600]
| G | -0.002 | 4.036 | 3.858 | 4 | 3.655 | 0.008 | 0.002 | 0.003 | 0.004 | 0.002 | -0.002 | 0.002 | Max V [Read 2:600]
|  | 0.9 | 0.982 | 0.982 | 0.979 | 0.988 | 0.87 | 0.75 | 0.571 | 0.899 | 0.692 | 0.9 | 0.9 | R-Squared [Read 2:600]
|  | 1:29 | 1:59 | 1:59 | 1:59 | 1:59 | 2:59 | 4:29 | 6:29 | 2:29 | 3:59 | 1:29 | 3:29 | t at Max V [Read 2:600]
|  | 0:39 | 0:59 | 1:00 | 1:00 | 0:55 | 1:25 | 4:39 | 5:29 | 1:38 | 1:09 | 0:39 | 1:49 | Lagtime [Read 2:600]
| H | -0.003 | -0.005 | 0.001 | -0.001 | -0.003 | 0.038 | -0.001 | -0.002 | -0.001 | 0.002 | -0.001 | -0.002 | Max V [Read 2:600]
|  | 0.941 | 0.79 | 0.8 | 0.4 | 0.941 | 0.743 | 0.75 | 0.9 | 0.75 | 0.893 | 0.75 | 0.893 | R-Squared [Read 2:600]
|  | 1:29 | 6:59 | 6:59 | 1:29 | 1:29 | 11:29 | 3:29 | 2:59 | 1:29 | 6:59 | 3:29 | 1:29 | t at Max V [Read 2:600]
|  | ????? | 5:16 | 8:14 | ????? | ????? | 10:33 | 0:49 | 0:29 | 0:29 | 7:11 | 2:29 | ????? | Lagtime [Read 2:600]